# Air Compressor Checklist

| Project: |  |
| --- | --- |

| Date: |  |
| --- | --- |
| Compressor tag: |  |
| Building: |  |
| Location: |  |

# Submittal / Approvals

Submittal. The above equipment and systems integral to them are complete and ready for functional testing. The checklist items are complete and have been checked off only by parties having direct  knowledge of the event, as marked below, respective to each responsible contractor. This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed. A Statement of Correction will be submitted upon completion of any outstanding areas. None of the outstanding items preclude safe and reliable functional tests being performed.	☐List attached.

| Mechanical Contractor | Date | Controls Contractor | Date |
| --- | --- | --- | --- |
| Electrical Contractor | Date |  |  |
| TAB Contractor | Date | General Contractor | Date |

Construction checklist items are to be completed as part of startup and initial checkout, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- If this form is not used for documenting, one of similar rigor shall be used.

- Contractors assigned responsibility for sections of the checklist shall be responsible to see that checklist items by their subcontractors are completed and checked off.

Approvals. This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted below.

| Commissioning Authority | Date | Owner’s Representative | Date |
| --- | --- | --- | --- |

| Compressor 1 Information |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |
| Serial Number |  |  |  |  | SCIM |  |  |  | Pressur e |  |
| Volts/Phase |  |  | Function |  |  | Service Area |  |  |  |  |
| Motor Hp |  |  | Motor Eff |  |  | RPM |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |

| Compressor 2 Information |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |
| Serial Number |  |  |  |  | SCIM |  |  |  | Pressure |  |
| Volts/Phase |  |  | Function |  |  | Service Area |  |  |  |  |
| Motor Hp |  |  | Motor Eff |  |  | RPM |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |

| Compressor 3 Information |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |
| Serial Number |  |  |  |  | SCIM |  |  |  | Pressure |  |
| Volts/Phase |  |  | Function |  |  | Service Area |  |  |  |  |
| Motor Hp |  |  | Motor Eff |  |  | RPM |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |

| Associated Checklists |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Pneumatic Tubing | ☐ |  | ☐ |  | ☐ |
| BAS | ☐ |  | ☐ |  | ☐ |
| Comments: |  |  |  |  |  |

| Requested documentation submitted | Rec’d | Comments |
| --- | --- | --- |
| Manufacturer’s cut sheets | ☐ |  |
| Performance data (pump curves, coil data, etc.) | ☐ |  |
| Installation and startup manual and plan | ☐ |  |
| O&M manuals | ☐ |  |
| Factory test results | ☐ |  |
| Sequences and control strategies | ☐ |  |
| Warranty Certificate | ☐ |  |
| Belt alignment report | ☐ |  |
| Air Cooled, After cooler, Standard air Filter | ☐ |  |
| Comments: |  |  |

| Installation Checks |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| General |  |  |  |
| Installation is per manufacturers instructions | ☐ | ☐ |  |
| Manufacturers recommended spare parts are provided | ☐ | ☐ |  |
| Equipment label permanently affixed | ☐ | ☐ |  |
| Compressor lubricated | ☐ | ☐ |  |
| Belt properly aligned | ☐ | ☐ |  |
| Compressor turns freely | ☐ | ☐ |  |
| Drive guard or shield is properly installed | ☐ | ☐ |  |
| Compressor foundation is level within manufacturer’s tolerances | ☐ | ☐ |  |
| Compressor in place and properly anchored | ☐ | ☐ |  |
| Shipping blocks removed? | ☐ | ☐ |  |
| Vibration isolation devices installed and functional (non-short circuiting) | ☐ | ☐ |  |
| Seismic anchoring installed and functional where applicable (non-short circuiting) | ☐ | ☐ |  |
| Isolation valves and piping specialties installed | ☐ | ☐ |  |
| Hour meter Working? | ☐ | ☐ |  |
| Compressor detail checked against the drawings and all devices gages and appurtenances are in place | ☐ | ☐ |  |
| Cut-in / Cut-out pressure set? (please record) | ☐ | ☐ |  |

| Installation Checks |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| Electrical and Controls |  |  |  |
| Power disconnect is located within site of the unit it controls and labeled | ☐ | ☐ |  |
| All electric connections tight | ☐ | ☐ |  |
| Grounding installed for components and unit | ☐ | ☐ |  |
| Safeties installed and operational | ☐ | ☐ |  |
| Starter overload breakers installed and correct size | ☐ | ☐ |  |
| All control devices and wiring complete | ☐ | ☐ |  |
| Control system interlocks connected and functional | ☐ | ☐ |  |
| Pressure alarm switch installed and wired to BAS? | ☐ | ☐ |  |
| Proper safeties installed. | ☐ | ☐ |  |
| Installation per manufacturer’s instructions | ☐ | ☐ |  |
| Rotates in the correct direction | ☐ | ☐ |  |
| STARTUP |  |  |  |
| No Visible sign of Damage to unit | ☐ | ☐ |  |
| Pull disconnect and ‘lock out’ switch | ☐ | ☐ |  |
| Check that shipping blocks are removed | ☐ | ☐ |  |
| Activate disconnect switch | ☐ | ☐ |  |
| Bump for proper rotation of motors | ☐ | ☐ |  |
| Close receiver valve and start | ☐ | ☐ |  |
| With valve closed let machine come up to pressure | ☐ | ☐ |  |
| Check for proper cycling operation | ☐ | ☐ |  |
| VFD interlocked to control system | ☐ | ☐ |  |
| Open receiver valve | ☐ | ☐ |  |
| Stage 1 amps A and Stage 2 amps A | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |
|  | ☐ | ☐ |  |

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________
 
_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority