# Ductwork Construction Checklist

| Project: |  |
| --- | --- |

| Date: |  |
| --- | --- |
| Building: |  |
| Location: |  |

# Submittal / Approvals

Submittal. The above equipment and systems integral to them are complete and ready for functional testing. The checklist items are complete and have been checked off only by parties having direct  knowledge of the event, as marked below, respective to each responsible contractor. This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed. A Statement of Correction will be submitted upon completion of any outstanding areas. None of the outstanding items preclude safe and reliable functional tests being performed.		 List attached.

| Mechanical Contractor | Date | Sheet Metal Contractor | Date |
| --- | --- | --- | --- |
| TAB Contractor | Date | General Contractor | Date |

Construction checklist items are to be completed as part of startup and initial checkout, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- If this form is not used for documenting, one of similar rigor shall be used.

- Contractors assigned responsibility for sections of the checklist shall be responsible to see that checklist items by their subcontractors are completed and checked off.

Approvals. This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted below.

| Commissioning Authority | Date | Owner’s Representative | Date |
| --- | --- | --- | --- |

| Requested documentation submitted | Rec’d | Comments |
| --- | --- | --- |
| Ductwork Construction Details | ☐ |  |
| Submittal/Shop Drawing Information | ☐ |  |
| O&M manuals | ☐ ☐ |  |
| Comments: |  |  |

Note: This form should be completed [ weekly ]

# [DUCT LEAKAGE TESTING REQUIREMENTS MUST BE COORDINATED WITH CONTRACT DOCUMENTS AND EDITED TO MATCH]

Support:	Ductwork is supported properly.

Seal:	All ductwork openings are sealed with plastic or a metal cap to keep out dust, dirt, and debris.

All ductwork connections are fastened and sealed with high quality duct sealer.

Clean:	All ductwork is free of dust, dirt, and debris.

Conflicts:	Were any conflicts or potential conflicts with the work of other trades discovered?

If so, describe in section 3.

Drawings Updated: The installed system is shown on the as-built drawings.

# Primary (Main) Ductwork Installation

| Date | Description of Work Performed/ Drawing Reference | Items (see descriptions above) |  |  |  | Drawings Updated? | Percent Complete | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Support | Seal | Clean | Conflicts |  |  |  |

| Date | Description of Work Performed/ Drawing Reference | Items (see descriptions above) |  |  |  | Drawings Updated? | Percent Complete | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Support | Seal | Clean | Conflicts |  |  |  |

- Secondary (Branch) Ductwork Installation

| Date | Description of Work Performed/ Drawing Reference | Items (see descriptions above) |  |  |  | Drawings Updated? | Percent Complete | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Support | Seal | Clean | Conflicts |  |  |  |

| Date | Description of Work Performed/ Drawing Reference | Items (see descriptions above) |  |  |  | Drawings Updated? | Percent Complete | Initial |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Support | Seal | Clean | Conflicts |  |  |  |

- Conflicts (attach sheets as necessary)

| Date | Description of Conflict | Suggested Resolution | Resolved |
| --- | --- | --- | --- |

- Pressure Testing (required to document the conditions of the test)

| Primary | Secondary |
| --- | --- |
| The operating pressure of this system is inches | The operating pressure of this system is inches |

| The test pressure of this system is the maximum of: | The test pressure of this system is the maximum of: |
| --- | --- |
| High/Med Pressure Ductwork: 2" + operating pressure = 2" + = inches | High/Med Pressure Ductwork: 2" + operating pressure = 2" + = inches |
| AND | AND |
| Low Pressure Ductwork: 1" + operating pressure = 1" + = inches | Low Pressure Ductwork: 1" + operating pressure = 1" + = inches |
| Where high/med pressure is 2" and higher operating pressure and low pressure is under 2." | Where high/med pressure is 2" and higher operating pressure and low pressure is under 2." |
| The maximum leakage rate is: 0.01 x cfm (section air flow rate) = cfm | The maximum leakage rate is: 0.01 x cfm (section air flow rate) = cfm |

Complete Table 1 during the actual pressure testing.

Test 2 is only to be completed if the first test detects excessive leakage.

# Table 1: Leakage and Pressure Readings

| Time (min) | Primary |  |  |  | Secondary |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Test 1 |  | Test 2 |  | Test 1 |  | Test 2 |  |
|  | Pressure inches | Leakage cfm | Pressure inches | Leakage cfm | Pressure inches | Leakage cfm | Pressure inches | Leakage cfm |
| Begin |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |
| End |  |  |  |  |  |  |  |  |

Required Test Pressure (from previous page):

Primary: 	 inches	Secondary: 	 inches Maximum allowable leakage rate (from previous page):

Primary: 	 cfm	Secondary: 	 cfm

| Primary |  | Secondary |  |
| --- | --- | --- | --- |
| Test 1: | Test 2: | Test 1: | Test 2: |
| Start Time: ___________ | Start Time: _________ | Start Time: _________ | Start Time: _________ |
| End Time: ___________ | End Time: _________ | End Time: ________ | End Time: _________ |
| Date: ___________ | Date: __________ | Date: _________ | Date: __________ |
| Initials: | Initials: | Initials: | Initials: |

______________                  _____________                           _____________                    ______________

# Calibration Information

Data on the unit used to measure the leakage of air needs to be recorded to document its calibration and accuracy information if questions arise after the testing. The accuracy of the unit should be [+/- 7.5%] of expected leakage rate (for example if the leakage rate is not to exceed 200 cfm, then the unit must have an accuracy of 15 cfm).

Manufacturer:

Model:

Range:

Accuracy:

Last calibration date: 		(include copy of calibration report)

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________
 
_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority