# Fire Alarm System Construction Checklist

| Project: |  |
| --- | --- |

| Date: |  |
| --- | --- |
| Building: |  |
| Location: |  |

# Submittal / Approvals

Submittal. The above equipment and systems integral to them are complete and ready for functional testing. The checklist items are complete and have been checked off only by parties having direct knowledge of the event, as marked below, respective to each responsible contractor. This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed. A Statement of Correction will be submitted upon completion of any outstanding areas. None of the outstanding items preclude safe and reliable functional tests being performed.		 List attached.

| Electrical Contractor | Date | General Contractor | Date |
| --- | --- | --- | --- |

Construction checklist items are to be completed as part of startup & initial checkout, preparatory to performing test procedures.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- If this form is not used for documenting, one of similar rigor shall be used.

- Contractors assigned responsibility for sections of the checklist shall be responsible to see that checklist items by their subcontractors are completed and checked off.

Approvals. This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted below.

| Commissioning Authority | Date | Owner’s Representative | Date |
| --- | --- | --- | --- |

Panel Schedule (Add as required)

| Panel Information |  |  |  |
| --- | --- | --- | --- |
| Panel Tag |  | Panel Location |  |
| System |  | Service Area |  |
| Manufacturer |  | Model Number |  |
| Serial Number |  | Capacity |  |
| Volts/Phase Rating |  | Starter Mod |  |
| Other |  | Other |  |
| Comments: |  |  |  |

| Associated Checklists |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Other | ☐ | Other | ☐ | Other | ☐ |
| Comments: |  |  |  |  |  |

| Requested documentation submitted | Rec’d | Comments |
| --- | --- | --- |
| Manufacturer’s cut sheets | ☐ |  |
| Installation and startup manual and plan | ☐ |  |
| O&M manuals | ☐ |  |
| Factory test results | ☐ |  |
| Sequences and control strategies | ☐ |  |
| Warranty certificate | ☐ |  |
| Comments: |  |  |

| Distribution Panel Enclosure/Cabinetry |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| Equipment installed per manufacturer’s instructions and specifications | ☐ | ☐ |  |
| Equipment installed agrees with shop drawings and specifications | ☐ | ☐ |  |

| Verify mounting, location and clearances are per plans and specifications | ☐ | ☐ |  |
| --- | --- | --- | --- |
| Inspect for physical, electrical and mechanical condition of equipment and cabinet - no damage evident | ☐ | ☐ |  |
| Inspect panels and doors for proper fit and alignment | ☐ | ☐ |  |
| Equipment labels permanently affixed | ☐ | ☐ |  |
| Panel is clean and clear of dust or dirt | ☐ | ☐ |  |
| Verify the application of manufacturer recommended torque values applied to bolted connections | ☐ | ☐ |  |
| Verify correct circuit breaker sizes and types per the specifications and manufacturer’s drawings | ☐ | ☐ |  |
| Seismic anchoring installed and functional where applicable (non- short circuiting) | ☐ | ☐ |  |
| Neutral bus isolated from cabinet | ☐ | ☐ |  |
| Verify that ground bus is properly bonded to enclosure, enclosure is grounded and resistance to ground meets grounding specifications | ☐ | ☐ |  |
| Inspect insulators, barriers and shields for damage or contamination | ☐ | ☐ |  |
| Megger test of bus – phase to phase and phase to ground. Test voltage per manufacturer’s recommendations | ☐ | ☐ |  |
| Batteries |  |  |  |
| Installed per drawings and specifications | ☐ | ☐ |  |
| No corrosion or leakage | ☐ | ☐ |  |
| Verify tightness of all connections | ☐ | ☐ |  |
| Verify electrolyte level is correct (where applicable) | ☐ | ☐ |  |
| Terminations torqued per manufacturer’s recommendations | ☐ | ☐ |  |
| Control Panel |  |  |  |
| Mounted in accordance with plans, specifications and manufacturer’s instructions | ☐ | ☐ |  |
| Adequate service access provided | ☐ | ☐ |  |
| Power Supply Connected |  |  |  |
| Communications interface/interconnect terminated per manufacturer’s instructions | ☐ | ☐ |  |
| Panel grounded in accordance with manufacturer’s instructions and code | ☐ | ☐ |  |

| Operational Checks |  |  |
| --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable | NA | Comment |

Comments:

| Specified sequences of operation and operating schedules have been provided with all variations documented | ☐ | ☐ |  |
| --- | --- | --- | --- |
| Specified point-to-point checks have been completed and documentation record submitted for this system | ☐ | ☐ |  |

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________
 
_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority