# Security CCTV System Construction Checklist

| Project: |  |
| --- | --- |

| Date: |  |
| --- | --- |
| Building: |  |
| Location: |  |

# Submittal / Approvals

Submittal. The above equipment and systems integral to them are complete and ready for functional testing. The checklist items are complete and have been checked off only by parties having direct knowledge of the event, as marked below, respective to each responsible contractor. This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed. A Statement of Correction will be submitted upon completion of any outstanding areas. None of the outstanding items preclude safe and reliable functional tests being performed.	 List attached.

| Electrical Contractor | Date | General Contractor | Date |
| --- | --- | --- | --- |

Construction checklist items are to be completed as part of startup & initial checkout, preparatory to performing test procedures.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- If this form is not used for documenting, one of similar rigor shall be used.

- Contractors assigned responsibility for sections of the checklist shall be responsible to see that checklist items by their subcontractors are completed and checked off.

Approvals. This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted below.

| Commissioning Authority | Date | Owner’s Representative | Date |
| --- | --- | --- | --- |

System Schedule (Add as required)

| System Information |  |  |  |
| --- | --- | --- | --- |
| Panel Tag |  | Panel Location |  |
| System (Circle one) | Power or Lighting | 208-120 or 480-277 | Normal or Emergency |
| Manufacturer |  | Model Number |  |
| Serial Number |  | Short Circuit Capacity |  |
| Volts/Phase Rating |  | Amperage Rating |  |
| Service Area |  |  |  |
| Comments: |  |  |  |

| Associated Checklists |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Grounding |  | Other |  | Other |  |
| Comments: |  |  |  |  |  |

| Requested documentation submitted | Rec’d | Comments |
| --- | --- | --- |
| Manufacturer’s cut sheets |  |  |
| Installation and startup manual and plan |  |  |
| O&M manuals |  |  |
| Factory test results |  |  |
| Sequences and control strategies |  |  |
| Warranty Certificate |  |  |
| Comments: |  |  |

| Distribution Panel Enclosure/Cabinetry |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| Equipment installed per manufacturer’s instructions and specifications |  |  |  |
| Equipment installed agrees with shop drawings and specifications |  |  |  |

| Verify mounting, location and clearances are per plans and specifications |  |  |  |
| --- | --- | --- | --- |
| Inspect for physical, electrical and mechanical condition of equipment and cabinet - no damage evident |  |  |  |
| Inspect panels and doors for proper fit and alignment |  |  |  |
| Equipment labels permanently affixed |  |  |  |
| Panel is clean and clear of dust or dirt |  |  |  |
| Verify the application of manufacturer recommended torque values applied to bolted connections |  |  |  |
| Verify correct circuit breaker sizes and types per the specifications and manufacturer’s drawings |  |  |  |
| Seismic anchoring installed and functional where applicable (non- short circuiting) |  |  |  |
| Verify that all manufacturer control wiring between shipping splits is properly connected per manufacturer’s drawings and specifications |  |  |  |
| Inspect insulators, barriers and shields for damage or contamination |  |  |  |
| Neutral bus isolated from cabinet |  |  |  |
| Verify that ground bus is properly bonded to enclosure, enclosure is grounded and resistance to ground meets grounding specifications |  |  |  |
| Megger test of bus – phase to phase and phase to ground. Test voltage per manufacturer’s recommendations |  |  |  |
| Batteries |  |  |  |
| Installed per drawings and specifications |  |  |  |
| No corrosion or leakage |  |  |  |
| Verified tightness of all connections |  |  |  |
| Electrolyte level is correct (where applicable) |  |  |  |
| Terminations torqued per manufacturer’s recommendations |  |  |  |
| Control Panel(s) / Consoles & Annunciator panels |  |  |  |
| Mounted in accordance with plans, specifications and manufacturer’s instructions |  |  |  |
| Adequate service access provided |  |  |  |
| Power supply connected |  |  |  |
| Communications interface/interconnect terminated per manufacturer’s instructions |  |  |  |
| Panel grounded in accordance with manufacturer’s instructions and code |  |  |  |
| Communications interconnect installed and terminated per manufactures instructions |  |  |  |
| Power supply disconnect installed per drawings and specifications |  |  |  |

| Field Devices (cameras, card readers, electric door latches, etc.) |  |  |  |
| --- | --- | --- | --- |
| Conduit and wire installed per plans and specifications |  |  |  |
| Wiring terminated and checked |  |  |  |
| Color palate per plans and specifications |  |  |  |

| Operational Checks |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comments |
| Specified sequences of operation and operating schedules have been provided with all variations documented |  |  |  |
| Specified point-to-point checks have been completed and documentation record submitted for this system |  |  |  |
| Battery |  |  |  |
| Apply power and verify battery charging |  |  |  |
| With charger disconnected, verify open circuit voltage of charged batteries |  |  |  |
| Control Panel(s) / Consoles & Annunciator panels |  |  |  |
| Power energized |  |  |  |
| Processor diagnostics performed |  |  |  |
| Power Supply |  |  |  |
| Energized and voltages correct |  |  |  |
| Field Devices (Cameras, card readers, electric door latches, etc.) |  |  |  |
| Control power energized |  |  |  |
| Verified that there are no stray voltages between installed conductors or between installed conductors and ground |  |  |  |

Comments:

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature

______________________________________________________________________________________

______________________________________________________________________________________

(Place Digital Locking Stamp Here)

______________________________________________________________________________________

______________________________________________________________________________________

____________________University of Missouri Commissioning Authority