# Project:	Date:

| Room # | SPLIT SYSTEM AIR CONDITIONER |
| --- | --- |
| Pipe Fitters |  |
|  | Unit set and stable. |
|  | Connectors and valve installed. |
|  | Condensate drain completed. |
|  | Insulation complete. |
|  | Fire stopping complete. |
|  | Screws installed. |
|  | New filters installed. |
|  | Inlet air temp on evaporator |
|  | Outlet air temp on evaporator |
|  | Inlet air temp on condenser |
|  | Outlet air temp on condenser |
| Sheet Metal |  |
|  | Unit Cleaned. |
|  | Grills installed and fully open and all the blades set for a straight throw. |
| Electrician |  |
|  | Power connected. |
|  | Thermostat installed. |
|  | Fan rotation and amperage. |
|  | Low Med High |
|  | Cooling operates with Thermostat. |

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority

Construction Management signature signifies items on list checked and validated only. Not to be construed as acceptance of equipment or waiver of plans and specifications. Contractor still responsible to meet plans and specifications.