# PROJECT:

Construction Management	Planning, Design & Construction

Campus Facilities

University of Missouri-Columbia		117 General Services Building Columbia, MO 65211-3200

PHONE (573) 882-1133

FAX (573) 882-1175

# Commissioning Checklist Variable Frequency Drive

Mtg Date:

Mtg Time:

| Item | Check | Comment |
| --- | --- | --- |
| GROUNDING |  |  |
| INPUT WIRE CONNECTED |  |  |
| MOTOR WIRE CONNECTED |  |  |
| CONTROL WIRE CONNECTED |  |  |
| HEATER ADJUSTED |  |  |
| LEAD LENGTH OK |  |  |
| 3-PHASE VOLTAGE W/IN TOLERANCE |  |  |
| NO SHORTS/ GROUNDS SECURE |  |  |
| VOLTAGE & FREQ PROGRAMMED |  |  |
| ACCEL/DECEL INPUT |  |  |
| VOLTS/HERTZ INPUT |  |  |
| MOTOR CURRENT INPUT |  |  |
| COMMAND SOURCE INPUT |  |  |
| FREQUENCY REFERENCE SOURCE |  |  |
| PUMP/FAN HP MATCHES VFD HP? |  |  |
| SWITCH ON THE FLY |  |  |
| BUMP ROTATION |  | INVERTER BYPASS |
| OTHER PROGRAMMING |  |  |

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature

______________________________________________________________________________________

______________________________________________________________________________________

(Place Digital Locking Stamp Here)

______________________________________________________________________________________

______________________________________________________________________________________

____________________University of Missouri Commissioning Authority