# Water Softener Checklist

| Project: |  |
| --- | --- |

| Date: |  |
| --- | --- |
| Water Softener Tag: |  |
| Building: |  |
| Location: |  |

# Submittal / Approvals

Submittal. The above equipment and systems integral to them are complete and ready for functional testing. The checklist items are complete and have been checked off only by parties having direct  knowledge of the event, as marked below, respective to each responsible contractor. This construction checklist is submitted for approval, subject to an attached list of outstanding items yet to be completed. A Statement of Correction will be submitted upon completion of any outstanding areas. None of the outstanding items preclude safe and reliable functional tests being performed.		 List attached.

| Mechanical Contractor | Date | Controls Contractor | Date |
| --- | --- | --- | --- |
| Electrical Contractor | Date | Sheet Metal Contractor | Date |
| TAB Contractor | Date | General Contractor | Date |

Construction checklist items are to be completed as part of startup and initial checkout, preparatory to functional testing.

- This checklist does not take the place of the manufacturer’s recommended checkout and startup procedures or report.

- If this form is not used for documenting, one of similar rigor shall be used.

- Contractors assigned responsibility for sections of the checklist shall be responsible to see that checklist items by their subcontractors are completed and checked off.

Approvals. This filled-out checklist has been reviewed. Its completion is approved with the exceptions noted below.

| Commissioning Authority | Date | Owner’s Representative | Date |
| --- | --- | --- | --- |

| Water Softener 1 Information |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |  |
| Serial Number |  |  |  |  | Capacity |  |  |  |  | GPM |  |
| Volts/Phase |  |  | Salt |  |  | Resin |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |

| Water Softener 2 Information |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Make |  |  |  |  | Model Number |  |  |  |  |  |  |
| Serial Number |  |  |  |  | Capacity |  |  |  |  | GPM |  |
| Volts/Phase |  |  | Salt |  |  | Resin |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |

| Associated Checklists |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Domestic Water Pump | ☐ |  | ☐ |  | ☐ |
|  | ☐ |  | ☐ |  | ☐ |
| Comments: |  |  |  |  |  |

| Requested documentation submitted | Rec’d | Comments |
| --- | --- | --- |
| Manufacturer’s cut sheets | ☐ |  |
| Performance data (pump curves, coil data, etc.) | ☐ ☐ |  |
| Installation and startup manual and plan | ☐ |  |
| O&M manuals | ☐ |  |
| Factory test results | ☐ |  |
| Sequences and control strategies | ☐ |  |
| Warranty Certificate | ☐ |  |
| Comments: |  |  |

| Installation Checks |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| General |  |  |  |
| General appearance good, no apparent damage | ☐ | ☐ |  |
| Proper vibration isolators installed and adjusted | ☐ | ☐ |  |
| Pipe fittings and accessories complete | ☐ | ☐ |  |
| No Leaks apparent | ☐ | ☐ |  |
| Domestic water system flushing complete | ☐ | ☐ |  |
| Flow switch installed and working as required | ☐ | ☐ |  |
| Air Purged from lines and tanks | ☐ | ☐ |  |
| Lubricated as required | ☐ | ☐ |  |
| Salt added AMOUNT | ☐ | ☐ |  |
| Faucet Run Until Clear | ☐ | ☐ |  |
| Regeneration tested and functional | ☐ | ☐ |  |
| Piping | ☐ | ☐ |  |
| Piping installation checked against the drawings and all devices gages and appurtenances are in place | ☐ | ☐ |  |
| Piping supported independently of the water softener | ☐ | ☐ |  |
| Piping type and flow direction labeled on piping | ☐ | ☐ |  |
| Isolation valves and piping specialties installed | ☐ | ☐ |  |
| System flushing complete | ☐ | ☐ |  |
| Electrical and Controls |  |  |  |
| Power Outlet located within reach of cords | ☐ | ☐ |  |
| All electric connections tight |  |  |  |
| Grounding installed for components and unit | ☐ | ☐ |  |
| Safeties installed and operational | ☐ | ☐ |  |
| All control wiring complete | ☐ | ☐ |  |
| Timer programmed and operating | ☐ | ☐ |  |
| Time set for regeneration? ☐ A.M./P.M. ☐ | ☐ | ☐ |  |
| Startup report completed with this checklist attached. (Includes full listing of all internal settings) | ☐ | ☐ |  |

| Installation Checks |  |  |  |
| --- | --- | --- | --- |
| Check if Acceptable; Provide comment if unacceptable |  | NA | Comment |
| Startup report includes written certification from water softener manufacturer that all specified features, controls and safeties have been installed and are functioning properly and that the installation and application comply with the manufacturer’s recommendations | ☐ | ☐ |  |
|  | ☐ | ☐ |  |

# Calibration

All Calibration completed as required?

Comments:

☐Yes/No☒

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________
 
_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority