# PROJECT:

Construction Management	Planning, Design & Construction

Campus Facilities

University of Missouri-Columbia		117 General Services Building Columbia, MO 65211-3200

PHONE (573) 882-1133

FAX (573) 882-1175

# Commissioning Checklist Piping Air Separator

Mtg Date:

Mtg Time:

| Item | Check | Comment |
| --- | --- | --- |
| OPERATING TEMP < 350 Deg F |  |  |
| OPERATING PRESS < 125 PSIG |  |  |
| IS UNIT INSULATED |  |  |
| BOLTS INSTALLED PROPERLY |  |  |
| GASKET INSTALLED PROPERLY |  |  |
| UNIT SIZE DESIGNATION |  |  |
| SUPPORT OK (R-8 OR LARGER NEEDS SADDLE) |  |  |
| STRAINERS CLEANED (IF APPLICABLE) |  |  |
| MANUAL BLOWDOWN VLV ATTACHED (IF APPLICABLE) |  |  |
| AIR VENT ATTACHED & OPERATING |  |  |
| PRESSURE ACROSS UNIT |  | IN OUT |
| ISOLATION VALVES INSTALLED |  |  |
| NO LEAKAGE |  |  |
| OTHER: |  |  |

*Fill out all form fields before signing!

Name		 	Organization			Title			Signature 
 
_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________

_________________________________________________________________________________________________________________
 
_________________________________________________________________________________________________________________

_________________University of Missouri Commissioning Authority